Engineering  Circular No. 61

| NO: ENG/MMAM-37(6)/99 | Dated:3rd November, 2005 |
| --- | --- |
| Sub: Submission of application for continuing with Hydrants, hoses & fire mains of diameter less than 64 mm on exist ships |  |
| : Recently, many ship owners / managers have approached the Directorate for exemption for fire hydrants & fire mains of diameter less than 64 mm for their newly acquired second hand vessels. The details submitted are not sufficient for considering the application / approval / exemption. In order to examine all applications expeditiously, all ship owners / ship managers authorized by the ship owners are advised to submit following details along with their application to the Directorate so to take further necessary action; 1) Date of keel lay / Year of Built. 2) Size of Fire Hydrants, fire mains and hoses in the engine room, on deck and in accommodation. 3) Fires pumps capacity calculation and "jet throw" calculation as per ship's particulars, to prove that they are meeting relevant regulatory requirements. 4) Fire hydrants, hoses couplings details such as Instantaneous type coupling / Bayonet type coupling / Screw type coupling, etc. (Please refer to Engineering Circular No. 19), as fitted. 5) Fees to be paid as per the existing guidelines and in accordance with the relevant D.G. Circular (D.G. Shipping Circular No. 1 of 2004). Application submitted to the Directorate for approval shall be processed only after the receipt of the above information and fees. Moreover,for ships under construction, no such exemption shall be provided. This issues with the approval of the Chief Surveyor with the Government of India. Sd/- (D. Mehrotra) Dy. Chief Surveyor cum Sr.DDG(Tech) |  |
| Back to ENGG circulars main page |  |