Engineering Circular No. 81

| NO: ENG/MISC-29(11)/2006 | Dated 16th March, 2007 |
| --- | --- |
| Sub: Maintenance, Inspection and Tests of Fire - Protection and Fire Fighting System on Board Ships – amendment to provision there in |  |
| In response to Engineering Circular No. 66 on the above subject, it has come to the notice of this Directorate that shipping companies are not able to comply with the requirement of getting one third of the fire extinguishers pressure tested every year. In order to facilitate shipping companies, it has been decided that fire extinguishers may be hydraulically pressure tested during the dry dock once in three years. However, shipping companies are required to ensure that the ships fire extinguishers are properly maintained and kept in satisfactory operating condition at all times. This issues with the approval of the Chief Surveyor with the Government of India. Sd/- (D.Mehrotra) Dy. Chief Surveyor cum Sr.DDG(Tech) |  |
| Back to ENGG circulars main page |  |