Engine Circular No. 35

| NO: ENG/MMAM-37(6)/99 | Dated Aug 5, 2004 |
| --- | --- |
| Sub: Procedure for approval/submission of Fire Control Plans |  |
| The task of approval of Fire Control Plans is being currently carried out by the Chief Surveyor with the Govt. of India in accordance with letter No. ENG/MISC-43 (2)/82 dated 17th September 1981. Accordingly, the task of approval of such plans had been clearly laid out in the task allocated to the Engineering branch. The current procedure for the approval of such plans has been that the Ship-owners, Shipmanagers, Ship Repair Yards, Ship yards have been submitting the plans to the Principal Officers of the respective MMDs under which their officers are located and who in turn forward it to the Chief Surveyor with the Govt. of India for approval after due scrutiny and recommendation. There have been undue delays in the approval of such plans owing to the increased workload of the MMDs, and the focus as well as priority of work, undergoing a continuous change. In many cases the Fire Control Plans have been submitted without appropriate corrections and supporting documents, resulting in further delay. Recently, vessels have been detained under PSC for want of such approved plans on board. In order to streamline this process and to ensure quick turn around in the approval process, the Chief Surveyor with the Govt. of India has directed that all Fire Control Plans with attachment, be submitted directly to the Chief Surveyor's office by concerned Owners, Ship Yards, Ship Management Companies. The specific requirements for the attachment and submissions with the plans are as specified in Annex. Fees for the approvals are to be paid in accordance with DGS Circular No. 1 of 2004 (Sr. No.12.2) payable to DGS at Mumbai Sd/- ( Dr. P. Misra ) Dy. Chief Surveyor with the Govt. of India |  |
| ANNEX PROCEDURE FOR SUBMISSION OF FIRE CONTROL PLAN A scrutiny sheet should be submitted with all submission 1. The scrutiny sheet should contain the applicable rule requirements and their compliance (a) MS (FFA) Rules 1969/1990 (b) IMO SOLAS Rules as applicable (c) Classification rules as applicable 2. The scrutiny sheet should be in the following format Scrutiny Sheet Ship Name; O. No.; POR; GT; BHP. Dead Weight; Length; Year of Built; Type of Vessel; Class as per FFA rules; Classification of Society. Sr. No.; Rule / Clause No.; Requirements; Compliance; Remark. In column under compliance, the actual quantity and details of equipment to be indicated 3. The calculations with reference to the following are to be annexed to scrutiny sheet (a) Fire Pumps capacity (b) Water pressure at hydrants (c) Flow and throw of water jet. (d) Fixed Fire fighting system (manuals to be submitted for approval along with scrutiny sheet) (i) CO2 system / HALON (ii) Foam system (iii)Sprinkler system (iv)Dry powder system (v) Fixed water based system for use in category A machinery spares (vi)Any other system (i.e. Fixed Fire Fighting Systems for galley) 4. Specifications and compliance with Fire Safety System code Item; FSS code requirement; Compliance / Remarks. 5. Fire control plan should show clearly the following. (a) Control stations on each deck (b) The sections of the ship which are enclosed by fire resisting Bulkheads (c) Particulars of fire detection and fire alarms system (d) The sprinkler installation (fixed fire fighting system) (e) Fire Extinguishing appliance (f) Fireman’s out fit (g) EEBD (h) Ventilations closing arrangement (i) Ventilation fan / oil fuel Pumps / fire Pumps controls (outside E/R) (j) QCV remote operation position (k) Primary and secondary Escape routes from E/R and Accommodation (l) Location of International shore connections (m) Fire Hydrants / Hoses location (n) Ships particulars (o) Fire pumps locations (p) Spaces protected by fixed fire fighting system Co2 / Dry powder / Foam/ water (q) Location of fixed Co2 / Foam / Dry powder installation (r) Any other fire fighting equipment with specific application. 6. To submit copies of approval letters issued by the statutory authorities for all important equipment and components of the fire control plan. 7. Colour code and IMO symbols (IMO Res. A 952(23)) are to be used. |
| Back to ENGG circulars main page |  |